## Sheet2
Part type | Part Number | Product Description | Safety Data Sheet | Application | IFC | Instrument | Assay
IFCs | 100-5479 | C1™ Single-Cell Preamp IFC, 10–17 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5480 | C1™ Single-Cell Preamp IFC, 10–17 µm—10 IFCs | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5757 | C1™ Single-Cell Preamp IFC, 5–10 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5758 | C1™ Single-Cell Preamp IFC, 17–25 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5759 | C1™ Single-Cell mRNA Seq IFC, 5–10 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5760 | C1™ Single-Cell mRNA Seq IFC, 10–17 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5761 | C1™ Single-Cell mRNA Seq IFC, 17–25 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5762 | C1™ Single-Cell DNA Seq IFC, 5–10 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5763 | C1™ Single-Cell DNA Seq IFC, 10–17 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-5764 | C1™ Single-Cell DNA Seq IFC, 17–25 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-6200 | IFC, qdPCR 37K, Single IFC | ­­­ | dPCR | IFC (1) | Legacy Instrument
IFCs | 100-6266 | 192.24 Dynamic Array™ IFC for Gene Expression | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | 100-6308 | Flex Six™ Gene Expression IFC | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | 100-6499 | Juno™ 96.96 Genotyping IFC—1 IFC | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | 100-7485 | Flex Six™ Genotyping IFC | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | 100-8133 | C1™ Single-Cell Open App™ IFC, 5–10 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-8134 | C1™ Single-Cell Open App™ IFC, 10–17 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 100-8135 | C1™ Single-Cell Open App™ IFC, 17–25 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 101-0219 | C1™ Single-Cell mRNA Seq HT IFC, 5–10 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 101-1824 | NGS LP 192.24 IFC | ­­­ | NGS Library Prep | IFC (1) | Biomark X9
IFCs | 101-1926 | NGS LP 48.48 IFC | ­­­ | NGS Library Prep | IFC (1) | Biomark X9
IFCs | 101-4981 | C1™ Single-Cell mRNA Seq HT IFC, 10–17 µm | ­­­ | Single Cell | IFC (1) | C1
IFCs | 101-7588 | 24.192 Dynamic Array™ IFC for Gene Expression | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | 101-9303 | IFC, 48.Atlas (RNA-Seq) | ­­­ | NGS Library Prep | IFC (1) | Legacy
IFCs | 102-1950 | 48.48 Dynamic Array IFC-X – real time PCR | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | 102-2407 | 96.96 GT Preamp IFC-X (1 IFC) | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | 102-2763 | 24.192 Dynamic Array™ IFC for Genotyping | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | BMK-M-12.765 | 12.765 Digital Array™ IFC for Digital PCR | ­­­ | dPCR | IFC (1) | Legacy
IFCs | BMK-M-192.24GT | 192.24 Dynamic Array™ IFC for SNP Genotyping | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | BMK-M-48.48 | 48.48 Dynamic Array™ IFC for Gene Expression | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | BMK-M-48.48GT | 48.48 Dynamic Array™ IFC for Genotyping | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | BMK-M-48.770 | 48.770 Digital Array™ IFC for Digital PCR | ­­­ | dPCR | IFC (1) | Legacy
IFCs | BMK-M-96.96 | 96.96 Dynamic Array™ IFC for Gene Expression | ­­­ | Gene Expression | IFC (1) | Biomark X9
IFCs | BMK-M-96.96GT | 96.96 Dynamic Array™ IFC for Genotyping | ­­­ | Genotyping | IFC (1) | Biomark X9
IFCs | 100-6038 | C1™ Single-Cell Preamp IFC, 5–10 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6039 | C1™ Single-Cell Preamp IFC, 17–25 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6040 | C1™ Single-Cell mRNA Seq IFC, 5–10 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6041 | C1™ Single-Cell mRNA Seq IFC, 10–17 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6042 | C1™ Single-Cell mRNA Seq IFC, 17–25 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6043 | C1™ Single-Cell DNA Seq IFC, 5–10 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6044 | C1™ Single-Cell DNA Seq IFC, 10–17 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-6045 | C1™ Single-Cell DNA Seq IFC, 17–25 µm—10 IFCs | ­­­ | Single Cell | IFC (10 pack) | C1
IFCs | 100-8365 | Juno™ 96.96 Genotyping IFC—10 IFCs | ­­­ | Genotyping | IFC (10 pack) | Biomark X9
IFCs | 101-1826 | NGS LP 192.24 IFC—10 IFCs | ­­­ | NGS Library Prep | IFC (10 pack) | Biomark X9
IFCs | 101-2342 | NGS LP 48.48 IFC—10 Pack | ­­­ | NGS Library Prep | IFC (10 pack) | Biomark X9
IFCs | 100-6152 | qdPCR 37K™ IFC Multipack—20 IFCs | ­­­ | dPCR | IFC (20 pack) | Legacy
IFCs | 101-2014 | NGS LP 192.24 IFC—5 IFCs | ­­­ | NGS Library Prep | IFC (5 pack) | Biomark X9
IFCs | 101-2343 | NGS LP 48.48 IFC—5 Pack | ­­­ | NGS Library Prep | IFC (5 pack) | Biomark X9
IFCs | 101-4982 | C1™ Single-Cell mRNA Seq HT IFC, 10-17 µm—5 IFCs | ­­­ | Single Cell | IFC (15pack) | C1
IFCs | 100-6172 | 96.96 Dynamic Array™ IFC for Genotyping—50 IFCs | ­­­ | Genotyping | IFC (50 pack) | Biomark X9
IFCs | 100-6173 | 96.96 Dynamic Array™ IFC for Genotyping—100 IFCs | ­­­ | Genotyping | IFC (100 pack) | Biomark X9
Assays | 100-5451 | BRCA1/BRCA2/TP53 Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5495 | BRCA1 Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5496 | BRCA2 Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5497 | EGFR Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5498 | MET Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5499 | TP53 Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-5580 | Preamp Master Mix—1 Tube | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwhS/RzwtduTx2646jGOpnbzN7juO1L4eplMBixYsmZ27TY0" target="_blank">100-6659</a> |  | All | Biomark X9
Assays | 100-5581 | Preamp Master Mix—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwhS/RzwtduTx2646jGOpnbzN7juO1L4eplMBixYsmZ27TY0" target="_blank">100-6659</a> |  | All | Biomark X9
Assays | 100-5582 | C1™ RNA Standard Assays | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | Single Cell |  | C1
Assays | 100-6060 | EGFR/MET Target-Specific Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Assays | 100-6280 | SNP Trace™ Panel | <a href="https://fluidigm.my.salesforce.com/sfc/p/#700000009DAw/a/4u00000187Gu/cEDKDZelkl8wUoqF_WMyVWOQm2.fMbMO8kNyjSGZBo4" target="_blank">100-6023</a> | Genotyping | 96.96 IFC | Biomark X9
Kits | 85000800 | GE 48.48 Dynamic Array Reagent Kit with Control Line Fluid—10 IFCs | ­­­ | Gene Expression | 48.48 IFC | Biomark X9
Kits | 85000801 | GE 48.48 Dynamic Array Reagent Kit with Control Line Fluid—40 IFCs | ­­­ | Gene Expression | 48.48 IFC | Biomark X9
Kits | 85000802 | GE 96.96 Dynamic Array Reagent Kit with Control Line Fluid—10 IFCs | ­­­ | Gene Expression | 96.96 IFC | Biomark X9
Kits | 85000803 | GE 96.96 Dynamic Array Reagent Kit with Control Line Fluid—40 IFCs | ­­­ | Gene Expression | 96.96 IFC | Biomark X9
Kits | 85000810 | GT 48.48 Dynamic Array Reagent Kit with Control Line Fluid—10 IFCs | ­­­ | Genotyping | 48.48 IFC | Biomark X9
Kits | 85000811 | GT 48.48 Dynamic Array Reagent Kit with Control Line Fluid—40 IFCs | ­­­ | Genotyping | 48.48 IFC | Biomark X9
Kits | 85000812 | GT 96.96 Dynamic Array Reagent Kit with Control Line Fluid—10 IFCs | ­­­ | Genotyping | 96.96 IFC | Biomark X9
Kits | 85000813 | GT 96.96 Dynamic Array Reagent Kit with Control Line Fluid—40 IFCs | ­­­ | Genotyping | 96.96 IFC | Biomark X9
Kits | 85000820 | Digital Array™ 12.765 or 48.770 Loading Kit—10 IFCs | ­­­ |  |  | Legacy Instrument
Kits | 100-1032 | 48.48 Access Array™ Loading Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj4/qEboo52mOWHG5ojorCdMWDpSyJTKI5S9YMirHqSGNmk" target="_blank">100-8524</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Kits | 100-1032-R | 48.48 Access Array™ Loading Reagent Kit--10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj4/qEboo52mOWHG5ojorCdMWDpSyJTKI5S9YMirHqSGNmk" target="_blank">100-8524</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Kits | 100-3400 | GE 48.48 Dynamic Array DNA Binding Dye Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SjXz/U9GsAt4IOVcTemMjQHNhZSQN7SfO.0sLMjDrS8NHDvc" target="_blank">100-5838</a> | Gene Expression | 48.48 IFC | Biomark X9
Kits | 100-3415 | GE 96.96 Dynamic Array DNA Binding Dye Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | Gene Expression | 96.96 IFC | Biomark X9
Kits | 100-3459 | GT 192.24 Dynamic Array Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SlwH/_WBU6HIcW6aN_Mrq0fqWzO8g7if2zGUyS8iSQCuCMB8" target="_blank">100-5753</a> | Genotyping | 192.24 IFC | Biomark X9
Kits | 100-4134 | SNP Type™ 96.96 Genotyping Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | 96.96 IFC | Biomark X9
Kits | 100-4135 | SNP Type™ 48.48 Genotyping Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | 48.48 IFC | Biomark X9
Kits | 100-4136 | SNP Type™ 192.24 Genotyping Reagent Kit with Control Line Fluid—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | 192.24 IFC | Biomark X9
Kits | 100-5920 | Access Array™ Accessory Kit | ­­­ | NGS Library Prep | All | Legacy Instrument
Kits | 100-6151 | qdPCR 37K™ IFC Multipack & Sample/Loading Kit—20 IFCs | Refer to component SDS |  |  | Legacy Instrument
Kits | 100-6153 | Digital Array™ 12.765—48.770—qdPCR 37K Loading Kit—20 IFCs | Refer to component SDS |  |  | Legacy Instrument
Kits | 100-6265 | 192.24 GE IFC & Reagent Kit—10 IFCs | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000My6i/wN3q1gEtlo7vEHq0zmtaYxZu2q0XkaAlEDE9nxGrjZY" target="_blank">01358</a> | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6309 | Flex Six™ Gene Expression Kit—5 IFCs | Refer to component SDS | Gene Expression | Flex Six IFC | Biomark X9
Kits | 100-6338 | 192.24 GT Sample/Loading & SNP Type™ Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 192.24 IFC | Biomark X9
Kits | 100-6339 | 48.48 GT Sample/Loading & SNP Type™ Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 48.48 IFC | Biomark X9
Kits | 100-6474 | 192.24 GE IFC & Control Line Fluid Kit—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6655 | 192.24 GE Delta Gene™ Kit—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6656 | Flex Six™ Delta Gene™ Gene Expression Kit—5 IFCs | Refer to component SDS | Gene Expression | Flex Six IFC | Biomark X9
Kits | 100-7352 | Flex Six™ Genotyping Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-7354 | Flex Six™ Fast Genotyping Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-7356 | Flex Six™ SNP Type™ Genotyping Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-8362 | Integrated Preamp Probe Genotyping Kit—10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 100-8364 | Integrated Preamp SNP Type Genotyping Kit—10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 100-8583 | Juno™ GT IFC and Control Line Fluid Kit | Refer to component SDS | Genotyping | All | Legacy Instrument
Kits | 101-0161 | 96.96 GT Fast Sample and Assay Loading Kit with Control Line Fluid—10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Bundle | 101-0347 | Biomark™ 48.48 Complete Bundle—Probe-Based GE—10 IFCs | Refer to component SDS | Gene Expression | 48.48 IFC | Biomark X9
Bundle | 101-0348 | Biomark™ 48.48 Complete Bundle—Delta Gene™—10 IFCs | Refer to component SDS | Gene Expression | 48.48 IFC | Biomark X9
Bundle | 101-0349 | Biomark™ 96.96 Complete Bundle—Probe-Based GE—10 IFCs | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Bundle | 101-0350 | Biomark™ 96.96 Complete Bundle—Delta Gene™—10 IFCs | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Bundle | 101-0351 | Biomark™ 192.24 Complete Bundle—Delta Gene™—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Bundle | 101-0352 | Biomark™ 192.24 Complete Bundle—Probe-Based GE—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Bundle | 101-1188 | Kit, Biomark™ Basic Bundle - Probe-Based GT Based GT | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 101-2333 | NGS LP 192.24 IFC with Accessories—10 Pack | ­­­ | NGS Library Prep | 192.24 IFC | Biomark X9
IFCs | 101-2334 | NGS LP 192.24 IFC with Accessories—5 Pack | ­­­ | NGS Library Prep | 192.24 IFC | Biomark X9
IFCs | 101-2348 | NGS LP 48.48 IFC—10 Pack with Accessories | ­­­ | NGS Library Prep | 48.48 IFC | Biomark X9
IFCs | 101-2349 | NGS LP 48.48 IFC—5 Pack with Accessories | ­­­ | NGS Library Prep | 48.48 IFC | Biomark X9
Kits | 101-3888 | Juno HT SNP Type Genotyping Kit—10 IFCs | Refer to component SDS | Genotyping | All | Legacy Instrument
Assays | 101-7033 | Advanta™ Solid Tumor NGS Library Prep Assay | Refer to component SDS | NGS Library Prep | All | Biomark X9
Kits | 101-7590 | 24.192 Probe GE IFC & Reagent Kit—2 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Kits | 101-7592 | 24.192 Probe GE IFC & Reagent Kit—10 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Bundle | 101-7659 | Biomark™ 24.192 Complete Bundle—Probe-Based GE—2 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Bundle | 101-7660 | Biomark™ 24.192 Complete Bundle—Probe-Based GE—10 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Kits | 101-7778 | Advanta™ NGS Library Prep Core Kit—LP 48.48, 2 IFCs | Refer to component SDS | NGS Library Prep | 48.48 IFC | Biomark X9
Kits | 101-7779 | Advanta™ NGS Library Prep Core Kit—LP 48.48, 10 IFCs | Refer to component SDS | NGS Library Prep | 48.48 IFC | Biomark X9
Kits | 101-7782 | Advanta™ NGS Library Prep Core Kit—LP 192.24, 2 IFCs | Refer to component SDS | NGS Library Prep | 192.24 IFC | Biomark X9
Kits | 101-7783 | Advanta™ NGS Library Prep Core Kit—LP 192.24, 10 IFCs | Refer to component SDS | NGS Library Prep | 192.24 IFC | Biomark X9
Kits | 101-9187 | Advanta™ RNA-Seq NGS Library Prep Kit | Refer to component SDS | NGS Library Prep | All | Biomark X9
IFCs | 101-9226 | LP 8.8.6 IFC with Accessories - 2 Pack | Refer to component SDS | NGS Library Prep | 8.8.6 IFC | Legacy Instrument
Kits | 101-9950 | Advanta RNA-Seq XT NGS Library Prep Kit | Refer to component SDS | NGS Library Prep |  | Biomark X9
Kits | 101-9959 | Advanta RNA-Seq XT NGS Library Prep Kit II | Refer to component SDS | NGS Library Prep |  | Biomark X9
Kits | 102-0167 | 192.24 GE IFC & 4X Reagent kit - 10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 102-0168 | 192.24 GE IFC & 4X Reagent kit - 50 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 102-0424 | Advanta™ RT-PCR Kit—192.24, 10 IFCs | Refer to component SDS |  | 192.24 IFC | Biomark X9
Kits | 102-0525 | Advanta™ RT-PCR Kit—192.24, 2 IFCs | Refer to component SDS |  | 192.24 IFC | Biomark X9
Kits | 102-0583 | 192.24 GE IFC & 2X Reagent Kit - 50 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 102-1341 | Advanta Preamp & IFC Reagent Kit—192.24 | Refer to component SDS |  | All | Biomark X9
Kits | 102-1456 | Advanta NGS Library Prep Core Kit—LP 192.24 (DY Custom 10-Pack) | Refer to component SDS | NGS Library Prep | 192.24 IFC | Biomark X9
Bundle | 102-1600 | Bundle, Advanta™ NGS Library Prep Kit (480 Libraries) | Refer to component SDS | NGS Library Prep | All | Biomark X9
IFCs | 102-1969 | 48.48 Dynamic Array IFC-X – real time PCR - 10 IFCs | Refer to component SDS |  | 48.48 IFC | Biomark X9
Assays | 102-2242 | Advanta Pharmacogenomics Assay | Refer to component SDS |  | All | Biomark X9
IFCs | 102-2537 | Integrated Preamp Probe GT-X Kit—10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2768 | Integrated Preamp SNP Type GT-X Kit—10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2769 | Integrated Preamp SNP Type GT-X Kit—2 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2776 | Integrated Preamp Probe GT-X Kit—2 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2777 | 24.192 Probe GT IFC & Reagent Kit—2 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
IFCs | 102-2779 | 24.192 SNP Type GT IFC & Reagent Kit—2 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
IFCs | 102-2789 | 24.192 Probe GT IFC & Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
IFCs | 102-2791 | 24.192 SNP Type GT IFC & Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
IFCs | BMK-M10-12.765 | 12.765 Sample/Loading Kit—10 IFCs | Refer to component SDS |  |  | Legacy Instrument
IFCs | BMK-M10-192.24GT | 192.24 GT Sample/Loading Kit—10 IFCs | Refer to component SDS | Genotyping | 192.24 IFC | Biomark X9
IFCs | BMK-M10-48.48 | 48.48 Sample/Loading Kit—10 IFCs | Refer to component SDS | All | 48.48 IFC | Biomark X9
IFCs | BMK-M10-48.48-EG | 48.48 DNA Binding Dye Sample/Loading Kit—10 IFCs | Refer to component SDS | All | 48.48 IFC | Biomark X9
IFCs | BMK-M10-48.48GT | 48.48 GT Sample/Loading Kit—10 IFCs | Refer to component SDS | Genotyping | 48.48 IFC | Biomark X9
IFCs | BMK-M10-48.770 | 48.770 Sample/Loading Kit—10 IFCs | Refer to component SDS | All |  | Legacy Instrument
IFCs | BMK-M10-96.96 | 96.96 Sample/Loading Kit—10 IFCs | Refer to component SDS | All | 96.96 IFC | Biomark X9
IFCs | BMK-M10-96.96-EG | 96.96 DNA Binding Dye Sample/Loading Kit—10 IFCs | Refer to component SDS | All | 96.96 IFC | Biomark X9
IFCs | BMK-M10-96.96GT | 96.96 GT Sample/Loading Kit—10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
IFCs | BMK-M10-96.96GT-SNP | 96.96 GT Sample/Loading & SNP Type™ Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Kits | 89000020 | Control Line Fluid Kit—48.48 |  | All | 48.48 IFC | Biomark X9
Kits | 89000021 | Control Line Fluid Kit—96.96 |  | All | 96.96 IFC | Biomark X9
Reagents | 100-4058 | Control Line Fluid 150 (150 μL x 10) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vw/PRSYtwwN7SCevDUmVh.a15LtmCnMoW6xBngd6frvv7M" target="_blank">100-7227</a> | All | All | Biomark X9
Reagents | 100-7131 | Control Line Fluid 150 (150 μL x 20) |  | All | All | Biomark X9
Reagents | 101-2344 | Control Line Fluid 300 (300 μL x 20) |  | All | All | Biomark X9
Reagents | 101-6335 | Control Line Fluid 300 (300 μL x 4) |  | All | All | Biomark X9
Reagents | 101-7602 | Control Line Fluid 150 (150 μL x 2) |  | All | All | Biomark X9
Reagents | 101-8274 | Control Line Fluid 150 (150 μL x 4) |  | All | All | Biomark X9
Reagents | 101-9307 | Control Line Fluid 150 (150 μL x 8) |  | All | All | Biomark X9
Reagents | 101-9223 | Rgt Kit, Advanta™ mRNA Seq Reagent Kit, Module 2 | Refer to component SDS | NGS Library Prep | All | Biomark X9
Reagents | 101-9299 | Rgt Kit, Advanta™ mRNA Seq Reagent Kit, Module 1 | Refer to component SDS | NGS Library Prep | All | Biomark X9
Reagents | 101-9308 | Rgt Kit, Advanta™ mRNA-Seq Beads, Module 4 | Refer to component SDS | NGS Library Prep | All | Biomark X9
Reagents | 101-9949 | Advanta™ RNA-Seq Unique Dual Index Module 3A | Refer to component SDS | NGS Library Prep | All | Biomark X9
Reagents | 101-9956 | Advanta™ RNA-Seq Unique Dual Index Module 3A/3B | Refer to component SDS | NGS Library Prep | All | Biomark X9
Reagents | 102-2240 | PGx Assay Kit - Module 3 | Refer to component SDS | Genotyping | All | Biomark X9
Reagents | 102-2241 | PGx Reagent Kit - Module 1 | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2243 | 96.96 GT Preamp IFC-X (5 IFC Pack) | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Reagents | 102-2426 | PGx Sample Prep Kit - Module 2 | Refer to component SDS | Genotyping | All | Biomark X9
IFCs | 102-2527 | 96.96 Dynamic Array GE - 5 IFC Pack | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Kits | 85000821 | GE 48.48 Dynamic Array™ Sample & Assay Loading Reagent Kit--10 IFCs | Refer to component SDS | Gene Expression | 48.48 IFC | Biomark X9
Kits | 85000825 | GT 48.48 Dynamic Array™ Sample & Assay Loading Reagent Kit--10 IFCs | Refer to component SDS | Genotyping | 48.48 IFC | Biomark X9
Kits | 85000827 | GT 96.96 Dynamic Array™ Sample & Assay Loading Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Kits | 100-3400-R | GE 48.48 Dynamic Array DNA Binding Dye Reagent Kit—10 IFCs | Refer to component SDS | Gene Expression | 48.48 IFC | Biomark X9
Kits | 100-3415-R | GE 96.96 Dynamic Array DNA Binding Dye Reagent Kit—10 IFCs | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Kits | 100-3459-R | GT 192.24 Dynamic Array™ Sample & Assay Loading Reagent Kit--10 IFCs | Refer to component SDS | Genotyping | 192.24 IFC | Biomark X9
Kits | 100-4134-R | SNP Type™ 96.96 Genotyping Reagent Kit--10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Kits | 100-4135-R | SNP Type™ 48.48 Genotyping Reagent Kit--10 IFCs | Refer to component SDS | Genotyping | 48.48 IFC | Biomark X9
Kits | 100-4136-R | SNP Type™ 192.24 Genotyping Reagent Kit--10 IFCs | Refer to component SDS | Genotyping | 192.24 IFC | Biomark X9
Kits | 100-5319 | C1™ Single-Cell Reagent Kit for Preamp | Refer to component SDS | Single Cell | All | C1
Kits | 100-6153-R | qdPCR 37K Reagent Kit --20 IFCs | Refer to component SDS |  |  | Legacy Instrument
Kits | 100-6201 | C1™ Single-Cell Reagent Kit for mRNA Seq | Refer to component SDS | Single Cell | All | C1
Kits | 100-6267 | 192.24 GE Dynamic Array™ Reagent Kit—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6310 | Flex Six™ Gene Expression Reagent Kit—5 IFCs | Refer to component SDS | Gene Expression | Flex Six IFC | Biomark X9
Kits | 100-6473 | 192.24 GE Dynamic Array™ Reagent Kit—1 IFC | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6654 | 192.24 GE Delta Gene™ Sample and Assay Reagent Kit—10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-6657 | Flex Six™ Delta Gene™ Gene Expression Reagent Kit—5 IFCs | Refer to component SDS | Gene Expression | Flex Six IFC | Biomark X9
Kits | 100-6660 | 192.24 GE Delta Gene™ Sample and Assay Reagent Kit—1 IFC | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 100-7351 | Flex Six™ Genotyping Reagent Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-7353 | Flex Six™ Fast Genotyping Reagent Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-7355 | Flex Six™ SNP Type™ Genotyping Reagent Kit—5 IFCs | Refer to component SDS | Genotyping | Flex Six IFC | Biomark X9
Kits | 100-7357 | C1™ Single-Cell Reagent Kit for DNA Seq | Refer to component SDS | Single Cell | All | C1
Kits | 100-8361 | Integrated Preamp Probe GT Reagent Kit for 10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 100-8363 | Integrated Preamp SNP Type GT Reagent Kit for 10 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 100-8920 | Open App™ Reagent Kit | Refer to component SDS |  | All | Legacy Instrument
Kits | 101-0101 | Integrated Preamp SNP Type GT Reagent Kit for 2 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 101-0160 | 96.96 GT Fast Sample and Assay Loading Kit--10 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Kits | 101-1187 | Rgt Kit, Biomark™ Probe-Based GT Reagent Kit | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 101-3473 | C1™ Single-Cell mRNA Seq HT Reagent Kit v2 - 5 IFC | Refer to component SDS | Single Cell | All | C1
Kits | 101-3887 | Juno HT SNP Type Genotyping Reagent Kit—10 IFCs | Refer to component SDS | Genotyping | All | Legacy Instrument
Kits | 101-5125 | 48.48 Targeted DNA Seq Library Preamp Reagent Kit - 10 IFC | Refer to component SDS | NGS Library Prep | 48.48 IFC | Legacy Instrument
Kits | 101-5392 | 48.48 Targeted DNA Seq Library Preamp Kit - 10 IFC (PathGroup) | Refer to component SDS | NGS Library Prep | 48.48 IFC | Legacy Instrument
Kits | 101-7589 | 24.192 Probe GE Reagent Kit for 2 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Kits | 101-7591 | 24.192 Probe GE Reagent Kit for 10 IFCs | Refer to component SDS | Gene Expression | 24.192 IFC | Biomark X9
Kits | 101-7663 | Advanta™ NGS Library Prep Reagent Kit—LP 48.48, 2 IFCs | Refer to component SDS | NGS Library Prep | 48.48 IFC | Biomark X9
Kits | 101-7665 | Advanta™ NGS Library Prep Reagent Kit—LP 48.48, 10 IFCs | Refer to component SDS | NGS Library Prep | 48.48 IFC | Biomark X9
Bundle | 101-7666 | Advanta™ NGS Library Prep Reagent Bundle—LP 48.48, 10 IFCs | Refer to component SDS | NGS Library Prep | 48.48 IFC | Biomark X9
Kits | 101-7667 | Advanta™ NGS Library Prep Reagent Kit—LP 192.24, 2 IFCs | Refer to component SDS | NGS Library Prep | 192.24 IFC | Biomark X9
Kits | 101-7669 | Advanta™ NGS Library Prep Reagent Kit—LP 192.24, 10 IFCs | Refer to component SDS | NGS Library Prep | 192.24 IFC | Biomark X9
Kits | 101-7725 | Advanta™ NGS Preamp Reagent Kit—96 Rxn | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ0000026Ca1/txrpIvU3eQGiNwRMuVApLgqaW3hjilOCAkerbIONNFE" target="_blank">101-7933</a> | NGS Library Prep | All | Biomark X9
Kits | 101-7726 | Advanta™ NGS Preamp Reagent Kit—960 Rxn | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ0000026Ca1/txrpIvU3eQGiNwRMuVApLgqaW3hjilOCAkerbIONNFE" target="_blank">101-7933</a> | NGS Library Prep | All | Biomark X9
Kits | 101-9621 | 4X TSP Master Mix Reagent Kit | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SnOb/54n.hxjY5YnF53ct58Prrhv7EXNiq0Cjv4R..4i_pGI" target="_blank">SDS-00011</a> | All | All | Biomark X9
Kits | 102-0166 | 192.24 GE Dynamic Array™ 4X Reagent Kit - 10 IFCs | Refer to component SDS | Gene Expression | 192.24 IFC | Biomark X9
Kits | 102-0421 | Advanta™ RT and Preamplification Master Mix Reagent Kit | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmIr/pXl5R_fKukcTN9IUT7SDKiZt5f6Izq5_oEZtu7a598c" target="_blank">SDS-00020</a> | All | All | Biomark X9
Kits | 102-1496 | Kit, Advanta™ NGS RT Reagent Kit—LP 8.8.6, 10 IFCs | Refer to component SDS | NGS Library Prep | 8.8.6 IFC | Biomark X9
Kits | 102-2773 | Integrated Preamp Probe GT Reagent Kit for 2 IFCs | Refer to component SDS | Genotyping | All | Biomark X9
Kits | 102-2778 | 24.192 Probe GT Reagent Kit for 2 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
Kits | 102-2780 | 24.192 SNP Type GT Reagent Kit for 2 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
Kits | 102-2790 | 24.192 Probe GT Reagent Kit for 10 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
Kits | 102-2792 | 24.192 SNP Type GT Reagent Kit for 10 IFCs | Refer to component SDS | Genotyping | 24.192 IFC | Biomark X9
Kits | 85000801-R | GE 48.48 Dynamic Array™ Sample & Assay Loading Reagent Kit--40 IFCs | Refer to component SDS | Gene Expression | 48.48 IFC | Biomark X9
Kits | 85000802-R | GE 96.96 Dynamic Array™ Sample & Assay Loading Reagent Kit--10 IFCs | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Kits | 85000803-R | GE 96.96 Dynamic Array™ Sample & Assay Loading Reagent Kit--40 IFCs | Refer to component SDS | Gene Expression | 96.96 IFC | Biomark X9
Kits | 85000811-R | GT 48.48 Dynamic Array™ Sample & Assay Loading Reagent Kit--40 IFCs | Refer to component SDS | Genotyping | 48.48 IFC | Biomark X9
Kits | 85000813-R | GT 96.96 Dynamic Array™ Sample & Assay Loading Reagent Kit--40 IFCs | Refer to component SDS | Genotyping | 96.96 IFC | Biomark X9
Kits | 85000820-R | 12.765 or 48.770 Digital Array™ Loading Kit--10 IFCs | Refer to component SDS | dPCR |  | Legacy Instrument
Reagents | 100-3065 | 20X Fast GT Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwik/pcFn5bT.cJUMsH5x0sGaV9ulOQttGFyWNaXg9SLkelg" target="_blank">100-5843</a> | Genotyping | All | Biomark X9
Reagents | 100-3155 | Access Array™ Harvest Solution—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvie/SYDFG06q_iGM3a.jF5NgioKy4vUFMobVMga6ERVkHfI" target="_blank">100-5835</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-1031 | Access Array™ Harvest Solution—10 mL Bottle | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvie/SYDFG06q_iGM3a.jF5NgioKy4vUFMobVMga6ERVkHfI" target="_blank">100-5835</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-7028 | Access Array™ Harvest Solution—11 mL Bottle | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvie/SYDFG06q_iGM3a.jF5NgioKy4vUFMobVMga6ERVkHfI" target="_blank">100-5835</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-8136 | Access Array™ Harvest Solution—10 mL Bottle | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvie/SYDFG06q_iGM3a.jF5NgioKy4vUFMobVMga6ERVkHfI" target="_blank">100-5835</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 101-9300 | Access Array™ Harvest Reagent Type I—3.7 mL Tube | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvie/SYDFG06q_iGM3a.jF5NgioKy4vUFMobVMga6ERVkHfI" target="_blank">100-5835</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-3553 | Bulk 2X Assay Loading Reagent—25 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 100-3554 | Bulk 20X GT Sample Loading Reagent—25 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Sm17/TscMYynkZ4tTM5aA5z51YqY_PGV4Q1GuZOkbSYWgKd8" target="_blank">100-5833</a> | Genotyping | All | Biomark X9
Reagents | 100-5310 | C1 Harvest Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vh/CedTq.z_g9bXmhxPKQ2oixomh_b0tE6vsVTF_1qCdWo" target="_blank">100-5814</a> | Single Cell | All | C1
Reagents | 100-5908 | Bulk Pressure Fluid, 25mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SlwH/_WBU6HIcW6aN_Mrq0fqWzO8g7if2zGUyS8iSQCuCMB8" target="_blank">100-5753</a> | All | All | Biomark X9
Reagents | 100-5941 | Tube, PCR Water | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviF/YRbWfIzY2StyKRKbnU.R0PXPedBC4guF85O1br2jXlc" target="_blank">100-6870</a> | All | All | Biomark X9
Reagents | 100-6223 | 48.48 Access Array™ Hydration Reagent—10 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwip/vTvBkyxP1ZHl972qsrRPf6G3wz8Dg71q6SDbOdbWWQo" target="_blank">100-5836</a> | NGS Library Prep | 48.48 IFC | Legacy Instrument
Reagents | 100-6298 | Reverse Transcription Master Mix—1 Tube | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 100-6299 | Reverse Transcription Master Mix—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 100-6300 | Preamp and Reverse Transcription Master Mix—1 Tube | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 100-6301 | Preamp and Reverse Transcription Master Mix—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 100-7081 | Bulk C1™ Harvest Reagent Bottle—25 mL | ­­­ | Single Cell | All | C1
Reagents | 100-7097 | Bulk 20X Fast GT Sample Loading Reagent—25 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwik/pcFn5bT.cJUMsH5x0sGaV9ulOQttGFyWNaXg9SLkelg" target="_blank">100-5843</a> | Genotyping | All | Biomark X9
Reagents | 100-7604 | 20X Access Array™ Loading Reagent—2 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviZ/fsv_HOC09XqEbA56r7g3XHVtCTyAXng2qMOVoCpHk08" target="_blank">100-5834</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-7606 | 20X Fast GT Sample Loading Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwik/pcFn5bT.cJUMsH5x0sGaV9ulOQttGFyWNaXg9SLkelg" target="_blank">100-5843</a> | Genotyping | All | Biomark X9
Reagents | 100-7607 | 60X SNP Type™ Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwiu/xKKsUgCoYaUS5m4.1uSSym0aX3q7ynQE75rp6pksG0Q" target="_blank">100-5842</a> | Genotyping | All | Biomark X9
Reagents | 100-7608 | 20X SNP Type™ Sample Loading Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | All | Biomark X9
Reagents | 100-7609 | 20X DNA Binding Dye—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SjXz/U9GsAt4IOVcTemMjQHNhZSQN7SfO.0sLMjDrS8NHDvc" target="_blank">100-5838</a> | All | All | Biomark X9
Reagents | 100-7610 | 20X GE Sample Loading Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Slxt/9XczBU4RVEp3XPuF6E6fgSAS.4.K1WXWKVqfz0Se_.w" target="_blank">100-5831</a> | Gene Expression | All | Biomark X9
Reagents | 100-7611 | 2X Assay Loading Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 100-7612 | 20X GT Sample Loading Reagent—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Sm17/TscMYynkZ4tTM5aA5z51YqY_PGV4Q1GuZOkbSYWgKd8" target="_blank">100-5833</a> | Genotyping | All | Biomark X9
Reagents | 100-7966 | Access Array™ Hydration Reagent v2—6 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj4/qEboo52mOWHG5ojorCdMWDpSyJTKI5S9YMirHqSGNmk" target="_blank">100-8524</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 100-8726 | Rgt Kit, Dilution Reagent, 25 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | All | All | Biomark X9
Reagents | 100-9167 | Bottle, DNA Dilution Reagent (3.0 mL) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | All | All | Biomark X9
Reagents | 101-0409 | Tube, TSP Assay Loading Reagent (75 uL) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000187GV/EHb5.b09zBGKw09zHukHeMaBDS5BXYTMorK2Kf4XSfc" target="_blank">101-3155</a> | All | All | Biomark X9
Reagents | 101-0740 | Targeted DNA Seq Assay Loading Reagent—5 Tubes | <a href="https://fluidigm.lightning.force.com/apex/compliancequest__SQX_View_Controlled_Document?num=SDS-00081" target="_blank">SDS-00081</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 101-0741 | Targeted DNA Seq Harvest Reagent—5 Bottles | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001UC6P/XEw7Le2DVS7AWYsDOd6RtERZIF.vfClkJpYw1yrPIwE" target="_blank">SDS-00083</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 101-0742 | Targeted DNA Seq Adapter Mix—5 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000187Ga/nA2NQrUft1V2uFOKyo3SDUweLvSE_eszAOG7ulJY204" target="_blank">101-3157</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 101-0743 | TSP Harvest Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001UC6P/XEw7Le2DVS7AWYsDOd6RtERZIF.vfClkJpYw1yrPIwE" target="_blank">SDS-00083</a> | All | All | Biomark X9
Reagents | 101-0915 | Bulk 20x Access Array™ Loading Reagent—25 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviZ/fsv_HOC09XqEbA56r7g3XHVtCTyAXng2qMOVoCpHk08" target="_blank">100-5834</a> | NGS Library Prep | All | Legacy Instrument
Reagents | 101-0995 | Tube, TSP DNA Polymerase | ­­­ | All | All | Legacy Instrument
Reagents | 101-3050 | Tube, 4X TSP Master Mix | ­­­ | All | All | Legacy Instrument
Reagents | 101-7633 | Tube, TSP Sample Loading Reagent, V2, 600 uL | ­­­ | All | All | Legacy Instrument
Reagents | 101-9171 | TSP Sample Loading Reagent v2 - 5 Tubes | ­­­ | All | All | Legacy Instrument
Reagents | 101-9301 | Loading Reagent Type I | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviZ/fsv_HOC09XqEbA56r7g3XHVtCTyAXng2qMOVoCpHk08" target="_blank">100-5834</a> | All | All | Biomark X9
Reagents | 102-0135 | 4X Assay Loading Reagent - 5 Tubes | ­­­ | All | All | Biomark X9
Reagents | 102-0419 | Advanta™ RT-Preamp Master Mix, 3.3 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmIr/pXl5R_fKukcTN9IUT7SDKiZt5f6Izq5_oEZtu7a598c" target="_blank">SDS-00020</a> | All | All | Biomark X9
Reagents | 102-0420 | Advanta™ PCR Master Mix, 1.2 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SjL0/Faz_8nnsc0sqh.bZu3OAtkF2gjt5sfkUIoluUtLfG14" target="_blank">SDS-00033</a> | All | All | Biomark X9
Reagents | 102-0876 | Advanta™ PCR MM Reagent Kit—4 Tubes | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SjL0/Faz_8nnsc0sqh.bZu3OAtkF2gjt5sfkUIoluUtLfG14" target="_blank">SDS-00033</a> | All | All | Biomark X9
Reagents | 100-0905 | GE Install Test Kit - OQ | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mvs5/kicnT6n5vB2LNQhmBpm4.FrpWYKoAPAe5rHQgEguuiA" target="_blank">MSDS-100-0905</a> | Gene Expression | All | Biomark X9
Reagents | 100-3771 | Access Array™ Barcode Library for Illumina Sequencers - 384 (Bidirectional) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ0000026BXV/utvTZmgPRz.CMIH7Zk9sZMaTT7bQIHRlnGkZW4qNNag" target="_blank">100-5827</a> | NGS Library Prep |  | Legacy Instrument
Reagents | 100-4876 | Access Array™ Barcode Library for Illumina® Sequencers—384, Single Direction | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ0000026BZ7/j5pZyvtVj0vO2yTnWTouSZyHHz1b.n2hyrGsj22HD4s" target="_blank">100-5828</a> | NGS Library Prep |  | Legacy Instrument
Accessories | 100-6147 | Single-Cell IFC Barrier Tape | ­­­ | Single Cell |  | Legacy Instrument
Reagents | 101-0744 | Targeted DNA Seq Barcode Plates | ­­­ | NGS Library Prep |  | Legacy Instrument
Accessories | 101-1825 | NGS LP 192.24 Barrier Tape—10 Pack | ­­­ | NGS Library Prep | 192.24 IFC | Biomark X9
Accessories | 101-2017 | NGS LP 192.24 Barrier Tape—5 Pack | ­­­ | NGS Library Prep | 192.24 IFC | Biomark X9
Accessories | 101-2346 | LP - 48.48 Barrier Tape, 10 Pack | ­­­ | NGS Library Prep | 48.48 IFC | Biomark X9
Accessories | 101-2347 | NGS LP 48.48 Barrier Tape—5 Pack | ­­­ | NGS Library Prep | 48.48 IFC | Biomark X9
Reagents | 101-2412 | Targeted DNA Seq Library Adapter Set | ­­­ | NGS Library Prep | All | Legacy Instrument
Accessories | 101-8273 | NGS LP 48.48 Barrier Tape—2 Pack | ­­­ | NGS Library Prep | 48.48 IFC | Biomark X9
Reagents | 102-2304 | TRN Kit, TaqMan GE Probe Training Kit | ­­­ | Gene Expression | All | Biomark X9
Bundle | 102-2624 | TRN Kit, TaqMan GE Probe Training Kit Bundle - 2 IFCs | ­­­ | Gene Expression | All | Biomark X9
Reagents | 85000735 | 20X GE Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Slxt/9XczBU4RVEp3XPuF6E6fgSAS.4.K1WXWKVqfz0Se_.w" target="_blank">100-5831</a> | Gene Expression | All | Biomark X9
Reagents | 85000741 | 20X GT Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Sm17/TscMYynkZ4tTM5aA5z51YqY_PGV4Q1GuZOkbSYWgKd8" target="_blank">100-5833</a> | Genotyping | All | Biomark X9
Reagents | 100-3738 | 20X DNA Binding Dye Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SjXz/U9GsAt4IOVcTemMjQHNhZSQN7SfO.0sLMjDrS8NHDvc" target="_blank">100-5838</a> | All | All | Legacy Instrument
Reagents | 100-3425 | 20X SNP Type Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | All | Biomark X9
Reagents | 100-5518 | C1 Single-Cell Auto Prep, Module 1 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vr/cNVrZudxpVPNMq7CKOKth1j2Z3rfT7CfB9zUv9j7OjA" target="_blank">100-6295</a> | Single Cell | All | C1
Reagents | 85000746 | 20X GE Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Slxt/9XczBU4RVEp3XPuF6E6fgSAS.4.K1WXWKVqfz0Se_.w" target="_blank">100-5831</a> | Gene Expression | All | Biomark X9
Reagents | 100-6311 | 20X Gene Expression Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Slxt/9XczBU4RVEp3XPuF6E6fgSAS.4.K1WXWKVqfz0Se_.w" target="_blank">100-5831</a> | Gene Expression | All | Biomark X9
Reagents | 100-7673 | FlexSix Delta Gene™ Sample Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmQv/3XltKg0Zx1jRLBY.GTWt9MIwS4V.yoNyso7fLL0ehmI" target="_blank">SDS-00064</a> | Gene Expression | Flex Six IFC | Biomark X9
Reagents | 100-6653 | 192.24 Delta Gene™ Sample Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmQv/3XltKg0Zx1jRLBY.GTWt9MIwS4V.yoNyso7fLL0ehmI" target="_blank">SDS-00064</a> | Gene Expression | 192.24 IFC | Biomark X9
Reagents | 100-7443 | 20X GT Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Sm17/TscMYynkZ4tTM5aA5z51YqY_PGV4Q1GuZOkbSYWgKd8" target="_blank">100-5833</a> | Genotyping | All | Biomark X9
Reagents | 100-7444 | 20X Fast GT Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwik/pcFn5bT.cJUMsH5x0sGaV9ulOQttGFyWNaXg9SLkelg" target="_blank">100-5843</a> | Genotyping | All | Biomark X9
Reagents | 100-7445 | 20X SNP Type Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmxB/1F.PSFuLMH757yrQi_f68CSpFpQ2Uddvsz4w7j56Tog" target="_blank">100-5840</a> | Genotyping | All | Biomark X9
Reagents | 100-7379 | C1 Single-Cell Auto Prep Kit DNA Seq, Module 1 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vx/sYCDyIbxii2LXw1ooNsw01kJJ4iGnBG7urBttgEA3wM" target="_blank">100-7494</a> | Single Cell | All | C1
Reagents | 100-8922 | C1 Open App Reagent Kit, Module 1 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186w1/Wpt0XMOM3YlpaoYZ0tgF54SEBKuL49GeDgEQ6e.RFjA" target="_blank">SDS-00065</a> | Single Cell | All | C1
Reagents | 85000744 | 20X GT Sample Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001Sm17/TscMYynkZ4tTM5aA5z51YqY_PGV4Q1GuZOkbSYWgKd8" target="_blank">100-5833</a> | Genotyping | All | Biomark X9
Reagents | 101-3474 | C1 mRNA Seq HT Reagent Kit v2, Module 1 (+4C) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviQ/FPDRQK2jW3TpMNQSsROdv28xFPVRaTQ7hFM7FSv0z68" target="_blank">101-5926</a> | Single Cell | All | C1
Reagents | 101-0407 | TSP Sample Loading Reagent | ­­­ | All | All | Biomark X9
Reagents | 101-7634 | TSP Sample Loading Reagent v2 | ­­­ | All | All | Biomark X9
Reagents | 85000736 | 2X Assay Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 100-5519 | C1 Single-Cell Auto Prep, Module 2 (Preamp) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ0000026C3l/E4LBqSnQu1NL2PiNBogow8qs2RdsZf1SNY34Az6x3oY" target="_blank">100-5655</a> | Single Cell | All | C1
Reagents | 100-6209 | C1 Single-Cell Auto Prep Kit, Module 2 (mRNA Seq) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vr/cNVrZudxpVPNMq7CKOKth1j2Z3rfT7CfB9zUv9j7OjA" target="_blank">100-6295</a> | Single Cell | All | C1
Reagents | 100-5359 | 2X Assay Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 100-7380 | C1 Single-Cell Auto Prep Kit DNA Seq, Module 2 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vx/sYCDyIbxii2LXw1ooNsw01kJJ4iGnBG7urBttgEA3wM" target="_blank">100-7494</a> | Single Cell | All | C1
Reagents | 100-8923 | C1 Open App Reagent Kit, Module 2 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186w1/Wpt0XMOM3YlpaoYZ0tgF54SEBKuL49GeDgEQ6e.RFjA" target="_blank">SDS-00065</a> | Single Cell | All | C1
Reagents | 101-1462 | 2X Assay Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 101-0060 | C1 mRNA Seq HT Reagent Kit, Module 2 (-20C) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviQ/FPDRQK2jW3TpMNQSsROdv28xFPVRaTQ7hFM7FSv0z68" target="_blank">101-5926</a> | Single Cell | All | C1
Reagents | 102-0114 | 4X Assay Loading Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmvZ/liXxHZeaq5p_rHBSQR4ooOh4hWBQczaiOxyHN6ZhAKU" target="_blank">100-5832</a> | All | All | Biomark X9
Reagents | 100-7423 | C1 Single-Cell Auto Prep Kit DNA Seq, Module 3 | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000186vx/sYCDyIbxii2LXw1ooNsw01kJJ4iGnBG7urBttgEA3wM" target="_blank">100-7494</a> | Single Cell | All | C1
Reagents | 100-8725 | Dilution Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | All | All | Biomark X9
Reagents | 100-9977 | 96.96 GT PCR Dilution Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | Genotyping | 96.96 IFC | Biomark X9
Reagents | 101-0461 | Dilution Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | All | All | Biomark X9
Reagents | 100-5317 | DNA Dilution Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwj9/h0Xi6lgmV57OEx6EJxzeKTks1mOv8CuwQjU0MZccs2U" target="_blank">100-9111</a> | All | All | Legacy Instrument
Reagents | 100-3402 | 60X SNP Type Reagent | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwiu/xKKsUgCoYaUS5m4.1uSSym0aX3q7ynQE75rp6pksG0Q" target="_blank">100-5842</a> | Genotyping | All | Biomark X9
Reagents | 100-6249 | Pressure Fluid 24.192 IFC - 2 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001o5n7/QLI_TMgl5uS0Ev4qqhDqsjrtIrNegEzRE_0yOB_aJJs" target="_blank">SDS-00040</a> | All | 24.192 IFC | Biomark X9
Reagents | 100-3463 | Pressure Fluid 24.192 IFC - 3.5 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001o5n7/QLI_TMgl5uS0Ev4qqhDqsjrtIrNegEzRE_0yOB_aJJs" target="_blank">SDS-00040</a> | All | 24.192 IFC | Biomark X9
Reagents | 100-6250 | Actuation Fluid 24.192 IFC - 1.5 mL | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmAn/9drVdXw1lNj7Kt7EIdEsxxbh7hSXxeM0ZK0Wd5eR1sY" target="_blank">100-6422</a> | All | 24.192 IFC | Biomark X9
Reagents | 100-8115 | GT Flux Fluid | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmFd/SG3I.ex6kK9HoceXFRsIxf_8L9sIBfUX13phcVlEorU" target="_blank">100-8523</a> | Genotyping | All | Biomark X9
Reagents | 100-8358 | GT Preamp Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwif/o_TgIUqyOaxfmNLkdsUl4qjTTUNBFSwiPintFY.eU50" target="_blank">100-8522</a> | Genotyping | All | Biomark X9
Reagents | 100-5744 | PreAmp Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwhS/RzwtduTx2646jGOpnbzN7juO1L4eplMBixYsmZ27TY0" target="_blank">100-6659</a> | All | All | Biomark X9
Reagents | 100-8910 | GT Preamp Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000Mwif/o_TgIUqyOaxfmNLkdsUl4qjTTUNBFSwiPintFY.eU50" target="_blank">100-8522</a> | Genotyping | All | Biomark X9
Reagents | 100-8359 | Probe GT Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviG/xuqFvIPcroT1GWW2hDK6JmmcxK.QbiZ9vQgNM8i8BMM" target="_blank">100-8661</a> | Genotyping | All | Biomark X9
Reagents | 100-8360 | SNP Type GT Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviG/xuqFvIPcroT1GWW2hDK6JmmcxK.QbiZ9vQgNM8i8BMM" target="_blank">100-8661</a> | Genotyping | All | Biomark X9
Reagents | 101-0076 | SNP Type GT Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviG/xuqFvIPcroT1GWW2hDK6JmmcxK.QbiZ9vQgNM8i8BMM" target="_blank">100-8661</a> | Genotyping | All | Biomark X9
Reagents | 100-6297 | Reverse Transcription Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 101-3055 | 4X TSP Master Mix | ­­­ | All | All | Biomark X9
Reagents | 101-5786 | 4X TSP Master Mix | ­­­ | All | All | Biomark X9
Reagents | 100-8911 | Probe GT Master Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MviG/xuqFvIPcroT1GWW2hDK6JmmcxK.QbiZ9vQgNM8i8BMM" target="_blank">100-8661</a> | Genotyping | All | Biomark X9
Reagents | 101-8818 | TSP Reverse Transcriptase | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u000000MwjO/sXvQojBoGucJmInF1T_enbpmWM1V.epf.CqLEQzGcIE" target="_blank">100-6658</a> | All | All | Biomark X9
Reagents | 101-0408 | TSP Adapter Mix | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/4u00000187Ga/nA2NQrUft1V2uFOKyo3SDUweLvSE_eszAOG7ulJY204" target="_blank">101-3157</a> | All | All | Biomark X9
Reagents | 101-8913 | 5X TSP RT Buffer | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SnLN/K69uNUuD.9oSKCjNRRS.trACM6nbgl1KqOI5XxxFv68" target="_blank">101-9065</a> | All | All | Biomark X9
Reagents | 101-8911 | TSP RNase Inhibitor (40 U/uL) | <a href="https://fluidigm.my.salesforce.com/sfc/p/700000009DAw/a/QQ000001SmHF/5CqJCuwf.PB.bixbDtNMlAttdFb21iJF1XGI_PwATec" target="_blank">101-9064</a> | All | All | Biomark X9